## Content
European Committee on Antimicrobial Susceptibility Testing
Zone diameter breakpoint tables for rapid antimicrobial susceptibility testing (RAST) directly from blood culture bottles
Version 6.1, valid from 2023-06-07
This document should be cited as "The European Committee on Antimicrobial Susceptibility Testing. Zone diameter Breakpoint Tables for rapid antimicrobial susceptibility testing (RAST) directly from blood culture bottles. Version 6.1, 2023. http://www.eucast.org."
Content | Page | Additional information
Changes | 1
Notes | 3
Guidance on reading EUCAST RAST Breakpoint Tables | 5
Information on technical uncertainty | 6
Escherichia coli | 7 | Breakpoints for 4, 6, 8 and 16-20 h
Klebsiella pneumoniae | 8 | Breakpoints for 4, 6, 8 and 16-20 h
Pseudomonas aeruginosa | 9 | Breakpoints for 6, 8 and 16-20 h
Acinetobacter baumannii | 10 | Breakpoints for 4, 6, 8 and 16-20 h
Staphylococcus aureus | 11 | Breakpoints for 4, 6, 8 and 16-20 h
Enterococcus faecalis | 12 | Breakpoints for 4, 6, 8 and 16-20 h
Enterococcus faecium | 13 | Breakpoints for 4, 6, 8 and 16-20 h
Streptococcus pneumoniae | 14 | Breakpoints for 4, 6, 8 and 16-20 h

## Changes
European Committee on Antimicrobial Susceptibility Testing
Zone diameter breakpoint table for rapid antimicrobial susceptibility testing (RAST) directly from blood culture bottles
Version 6.1, valid from 2023-06-07
This document should be cited as "The European Committee on Antimicrobial Susceptibility Testing. Zone diameter breakpoint tabes for rapid antimicrobial susceptibility testing (RAST) directly from blood culture bottles. Version 6.1, 2023. http://www.eucast.org."
Version 6.1, 2023-06-07 | Changes from v. 6.0 are marked light blue. Removed comments are shown in strikethrough font style.
General | • Not defined (ND) have been added when there is no breakpoint. • Brackets have been added for breakpoints used to distinguish between organisms with and without acquired resistance mechanisms (see Notes) .
Notes | • Note 5: New note on breakpoints that are "not defined" • Note 7: New note on breakpoints in brackets
K. pneumoniae | • Information on species inclued updated
A. baumannii | New breakpoints for 16-20 h • All agents Revised breakpoints • Meropenem 4 h • Amikacin 6 and 8 h
E. faeclis | New breakpoints for 16-20 h • All agents
E. faecium | New breakpoints for 16-20 h • All agents Revised breakpoints • Imipenem 4, 6 and 8 h • Linezolid 6 h
Version 6.0, 2023-04-25 | Changes from v. 5.1 are marked yellow. Removed comments are shown in strikethrough font style.
General | • General reading instruction added for all species.
Notes | • Note 3: Explanation of Suceptible, incereased exposure updated. • Note 7: Interpretation of results updated.
E. coli | New breakpoints for 4, 6, 8 and 16-20 h • Ampicillin • Amoxicillin-clavulanic acid • Temocillin • Imipenem-relebactam • Meropenem-vaborbactam
K. pneumoniae | New breakpoints for 4, 6, 8 and 16-20 h • Amoxicillin-clavulanic acid • Temocillin • Imipenem-relebactam • Meropenem-vaborbactam
P. aeruginosa | • Information on weak growth added. New breakpoints for 4, 6, 8 and 16-20 h • Imipenem-relebactam • Meropenem-vaborbactam

## Notes
European Committee on Antimicrobial Susceptibility Testing
Zone diameter breakpoint tables for rapid antimicrobial susceptibility testing (RAST) directly from blood culture bottles
Version 6.1, valid from 2023-06-07
1. The EUCAST zone diameter breakpoint tables for rapid antimicrobial susceptibility testing (RAST) should be used to interpret results with EUCAST RAST methodology.
2. Breakpoints are specific for each species and incubation time and cannot be used for species and/or incubation times not included in the table.
3. EUCAST RAST breakpoints categorise results into three susceptibility categories: S - Susceptible, standard dosing regimen: A microorganism is categorised as Susceptible, standard dosing regimen, when there is a high likelihood of therapeutic success using a standard dosing regimen of the agent. I - Susceptible, increased exposure: A microorganism is categorised as Susceptible, increased exposure * when there is a high likelihood of therapeutic success because exposure to the agent is increased by adjusting the dosing regimen or by its concentration at the site of infection. Susceptible, increased exposure, is only used when wild-type isolates of a species is categorised as "I" with standard EUCAST breakpoints. For these, an arbitrary off-scale zone diameter breakpoint of "S ≥ 50 mm" is used and isolates with zone diameters greater than the ATU interval are reported “Susceptible, increased exposure” (I). R - Resistant: A microorganism is categorised as Resistant when there is a high likelihood of therapeutic failure even when there is increased exposure. *Exposure is a function of how the mode of administration, dose, dosing interval, infusion time, as well as distribution and excretion of the antimicrobial agent will influence the infecting organism at the site of infection.
4. For all organism-agent combinations with RAST there is a defined area where the interpretation is uncertain, due to the poorer separation between susceptible and resistant isolates. EUCAST has designated this an Area of Technical Uncertainty (ATU). It corresponds to a zone diameter interval where the categorisation is doubtful. See separate page/tab for more information on ATU and how to deal with results in the ATU with the RAST method.
5. ND in the breakpoint table indicates that a brekpoint is not defined and that a susceptibility categorization cannot be achieved.
6. A screening test uses one agent to predict resistance or susceptibility to one or more antimicrobial agents in the same class. The screening test is often more sensitive and/or robust than testing individual agents. Using a screening test will often reduce the number of tests needed in primary susceptibility testing since it will predict susceptibility and/or resistance to several agents. Guidance on how to act on the screening test result is described in the Note related to each specific screening test. Negative screening test: Zone diameter above or equal to the susceptible breakpoint for the screening agent. No resistance mechanism to agents in the antimicrobial class detected. Positive screening test: Zone diameter below the resistant breakpoint for the screening agent. Resistance mechanism to one or more agents in the antimicrobial class detected.
7. Breakpoints in brackets distinguish between isolates without and with phenotypically detectable resistance mechanisms. For these agents, clinical evidence as monotherapy is usually lacking but for a specific indication or in combination with another active agent or measure they may still be used. Isolates with resistance can be reported R (resistant). Reporting S or I should be avoided and if considered necessary, there should be a comment to explain the need for adjunctive measures as mentioned above.
8. RAST with prolonged incubation time of 16-20 hours shall only be used when plates can not be read after 4, 6 or 8 hours. Do not incubate longer than 20 hours. The prolonged incubation has currently been developed for E. coli, K. pneumoniae, P. aeruginosa, S. aureus and S. pneumoniae.
9. Sometimes it is not possible to report a susceptibility category for all tested antimicrobial agents, either because there is no growth, you cannot read the zone in a reliable way or because the zone diameter is in the ATU. In these cases leave the report blank for the relevant agent. We suggest that laboratories include a comment in reports on positive blood cultures which explains why some results may be left blank at times. The comment could read: "Antimicrobial susceptibility testing directly from positive blood culture bottles, where results can often be offered after 4, 6 and/or 8 hours, requires that only reliable results are reported. A susceptibility report lacking results after short incubation, may be supplemented with more results at a later stage."

## Guidance
How to use the RAST breakpoint tables
Species | [6 empty] | EUCAST RAST breakpoint tables v. 6.1, valid from 2023-06-07
Zone diameter breakpoint tables for RAST directly from blood culture bottles
EUCAST rapid disk diffusion method directly from positive blood culture bottles Medium: Inoculum: Incubation: Incubation time: Reading: RAST QC for implementation of RAST method: Standard QC:
Antimicrobial agent | Disk content (µg) | 4 hours |  |  | 6 hours |  |  | 8 hours |  |  | 16-20 hours
|  | S ≥ | ATU | R < | S ≥ | ATU | R < | S ≥ | ATU | R < | S ≥ | ATU | R <
Antimicrobial agent A | 30-6 | 17 | 12-16 | 12 | 18 | 14-17 | 14 | 18 | 14-17 | 14 | 18 | 14-17 | 14
Antimicrobial agent B | 5 | 15 | 13-14 | 13 | 16 | 14-15 | 14 | 17 | 15-16 | 15 | 16 | 14-15 | 14
Antimicrobial agent C | 10 | 15 | 12-14 | 12 | 16 | 14-15 | 14 | 17 | 15-16 | 15 | 17 | 15-16 | 15
Antimicrobial agent D | 10 | 14 | 6-13 | ND | 15 | 6-14 | ND | 16 | 6-15 | ND | 15 | 6-14 | ND
Antimicrobial agent E | 10 | 50 | 15-17 | 15 | 17 | 15-16 | 15 | 17 | 15-16 | 15 | 17 | 15-16 | 15
Antimicrobial agent F | 5 | ND | 10-50 | 10 | ND | 10-50 | 10 | ND | 10-50 | 10 | ND | 10-50 | 10
Antimicrobial agent G | 30 | (15) | (12-14) | (12) | (15) | (13-14) | (13) | (15) | (13-14) | (13) | (15) | (13-14) | (13)
Antimicrobial agent H | 10 | 14 | 12-13 | 12 | 14 | 12-13 | 12 | 14 | 12-13 | 12 | 13 | 12 | 12
Antimicrobial agent I | 10 | 14 | 12-13 | 12 | 15 | 13-14 | 13 | 15 | 13-14 | 13 | 16 | 13-15 | 13
Zone diameter breakpoint for reading and interpreting results after 4, 6 and 8 hours of incubation.
ATU - the area of technical uncertainty where no categorisation can be offered - leave blank in report.
EUCAST RAST methodology and quality control.
Not defined. No breakpoints, resistance cannot be reliably reported.
Each species for which breakpoints have been determined are presented in individual tabs
Not defined. No breakpoints, susceptibility cannot be reported.
An arbitrary "off scale" breakpoint which categorises wild-type organisms as "Susceptible, increased exposure" (I).
RAST with prolonged incubation time of 16-20 hours shall only be used when plates can not be read after 4, 6 or 8 hours.
Not defined. No breakpoints, resistance cannot be reported.
Breakpoints in brackets are used to distinguish between organisms with and without acquired resistance mechanisms (see Notes) .

## Technical uncertainty
European Committee on Antimicrobial Susceptibility Testing
Zone diameter breakpoint tables for rapid antimicrobial susceptibility testing (RAST) directly from blood culture bottles
Version 6.1, valid from 2023-06-07
How to handle technical uncertainty in RAST directly from blood culture bottles.
The Area of Technical Uncertainty (ATU) is a range of inhibition zone diameters. There are ATUs for all organism-antimicrobial agent combinations with the EUCAST RAST method. The ATU represents an area where the separation between susceptibility categories is poor. Interpretative errors increase dramatically in this area and interpretation is not possible. Results above or below the ATU can reliably be reported.
What to do when in the ATU? A result inside the ATU cannot be interpreted. Do not hesitate to leave the report blank for the agent. At 4 hours, re-incubate plates within 10 minutes and read again at 6 hours and if needed at 8 hours and when necessary at 16-20 hours (see Note 6 in the Notes sheet). If a complete result cannot be given after 8 or 16-20 hours incubation, perform AST with EUCAST standard disk diffusion method.
We suggest that laboratories include a comment in reports on positive blood cultures which explains why some results may be left blank at times. The comment could read: "Antimicrobial susceptibility testing directly from positive blood culture bottles, where results can often be offered after 4, 6 and/or 8 hours, requires that only reliable results are reported. A susceptibility report lacking results after short incubation, may be supplemented with more results at a later stage."

## E. coli
Escherichia coli | [6 empty] | EUCAST RAST Breakpoint Tables v. 6.1, valid from 2023-06-07
Zone diameter breakpoints for RAST directly from blood culture bottles
EUCAST rapid disk diffusion method directly from positive blood culture bottles Medium: Mueller-Hinton (MH) agar Inoculum: 125±25 µL directly from a positive blood culture bottle Incubation: Air, 35±1ºC Incubation time: 4, 6, 8 and 16-20 hours Generall reading instructions: Inhibition zones should only be read when the growth is confluent and zone edges are clearly visible. Reading 4, 6 and 8 hours: Remove the lid and read zone diameters from the front against a dark background illuminated with reflected light. Reading 16-20 hours: Read zone diameters from the back of the plate against a dark background illuminated with reflected light.
QC for implementation of RAST
Antimicrobial agent | Disk content (µg) | 4 hours |  |  | 6 hours |  |  | 8 hours |  |  | 16-20 hours
|  | S ≥ | ATU | R < | S ≥ | ATU | R < | S ≥ | ATU | R < | S ≥ | ATU | R <
Ampicillin | 10 | 12 | 10-11 | 10 | 13 | 11-12 | 11 | 13 | 11-12 | 11 | 14 | 12-13 | 12
Amoxicillin-clavulanic acid | 20-10 | 16 | 14-15 | 14 | 17 | 15-16 | 15 | 17 | 15-16 | 15 | 19 | 17-18 | 17
Piperacillin-tazobactam | 30-6 | 17 | 14-16 | 14 | 18 | 15-17 | 15 | 18 | 15-17 | 15 | 17 | 15-16 | 15
Temocillin | 30 | 50 | 13-14 | 13 | 50 | 15-16 | 15 | 50 | 15-16 | 15 | 50 | 17-18 | 17
Cefotaxime1 | 5 | 15 | 13-14 | 13 | 16 | 14-15 | 14 | 17 | 15-16 | 15 | 16 | 14-15 | 14
Ceftazidime1 | 10 | 15 | 12-14 | 12 | 16 | 14-15 | 14 | 17 | 15-16 | 15 | 17 | 15-16 | 15
Ceftazidime-avibactam | 10-4 | 12 | 10-11 | 10 | 12 | 10-11 | 10 | 12 | 10-11 | 10 | 13 | 11-12 | 11
Ceftolozane-tazobactam | 30-10 | 16 | 14-15 | 14 | 18 | 16-17 | 16 | 18 | 16-17 | 16 | 20 | 16-19 | 16
Imipenem2 | 10 | 16 | 12-15 | 12 | 17 | 13-16 | 13 | 17 | 13-16 | 13 | 17 | 12-16 | 12
Imipenem-relebactam | 10-25 | 13 | 11-12 | 11 | 15 | 13-14 | 13 | 15 | 13-14 | 13 | 17 | 15-16 | 15
Meropenem2 | 10 | 17 | 15-16 | 15 | 17 | 15-16 | 15 | 17 | 15-16 | 15 | 15 | 13-14 | 13
Meropenem-vaborbactam | 20-10 | 16 | 12-15 | 12 | 16 | 14-15 | 14 | 17 | 15-16 | 15 | 16 | 14-15 | 14
Ciprofloxacin | 5 | 17 | 14-16 | 14 | 19 | 16-18 | 16 | 20 | 17-19 | 17 | 21 | 18-20 | 18
Levofloxacin | 5 | 16 | 14-15 | 14 | 18 | 15-17 | 15 | 18 | 15-17 | 15 | 23 | 15-22 | 15
Amikacin3 | 30 | (15) | (13-14) | (13) | (15) | (13-14) | (13) | (15) | (13-14) | (13) | (13) | (11-12) | (11)
Gentamicin3 | 10 | (14) | (12-13) | (12) | (14) | (12-13) | (12) | (14) | (12-13) | (12) | (13) | (11-12) | (11)
Tobramycin3 | 10 | (14) | (12-13) | (12) | (15) | (13-14) | (13) | (15) | (13-14) | (13) | (13) | (11-12) | (11)
Trimethoprim-sulfamethoxazole | 1.25-23.75 | 12 | 10-11 | 10 | 14 | 12-13 | 12 | 14 | 12-13 | 12 | 14 | 12-13 | 12
Notes
1. Cephalosporin breakpoints for E. coli will detect all clinically important resistance mechanisms. The presence or absence of an ESBL does not in itself influence the categorisation of susceptibility. However, ESBL detection and characterisation are recommended for public health and infection control purposes.
See document EUCAST RAST screening for resistance mechanisms (link to document) for screening cut-offs.
2. Carbapenem breakpoints for E. coli will detect all clinically important resistance mechanisms. The presence or absence of a carbapenemase does not in itself influence the categorisation of susceptibility. However, carbapenemase detection and characterisation are recommended for public health and infection control purposes.
See document EUCAST RAST screening for resistance mechanisms (link to document) for screening cut-offs.
3. Aminoglycoside breakpoints distinguish between isolates without and with resistance mechanisms. For blood stream infections, EUCAST recommends that aminoglycosides are used in combination with other active therapy.

## K. pneumoniae
Klebsiella pneumoniae | [6 empty] | EUCAST RAST Breakpoint Tables v. 6.1, valid from 2023-06-07
Zone diameter breakpoints for RAST directly from blood culture bottles
EUCAST rapid disk diffusion method directly from positive blood culture bottles Medium: Mueller-Hinton (MH) agar Inoculum: 125±25 µL directly from a positive blood culture bottle Incubation: Air, 35±1ºC Incubation time: 4, 6, 8 and 16-20 hours Generall reading instructions: Inhibition zones should only be read when the growth is confluent and zone edges are clearly visible. Reading 4, 6 and 8 hours: Remove the lid and read zone diameters from the front against a dark background illuminated with reflected light. Reading 16-20 hours: Read zone diameters from the back of the plate against a dark background illuminated with reflected light.
QC for implementation of RAST
Breakpoints are valid for K. pneumoniae, K. variicola and K. quasipneumoniae.
Antimicrobial agent | Disk content (µg) | 4 hours |  |  | 6 hours |  |  | 8 hours |  |  | 16-20 hours
|  | S ≥ | ATU | R < | S ≥ | ATU | R < | S ≥ | ATU | R < | S ≥ | ATU | R <
Amoxicillin-clavulanic acid | 20-10 | 15 | 13-14 | 13 | 16 | 14-15 | 14 | 16 | 14-15 | 14 | 18 | 16-17 | 16
Piperacillin-tazobactam | 30-6 | 15 | 13-14 | 13 | 16 | 14-15 | 14 | 16 | 14-15 | 14 | 17 | 15-16 | 15
Temocillin | 30 | 50 | 14 | 14 | 50 | 15 | 15 | 50 | 16 | 16 | 50 | 16 | 16
Cefotaxime1 | 5 | 15 | 12-14 | 12 | 18 | 15-17 | 15 | 18 | 15-17 | 15 | 16 | 14-15 | 14
Ceftazidime1 | 10 | 15 | 13-14 | 13 | 16 | 14-15 | 14 | 16 | 14-15 | 14 | 18 | 15-17 | 15
Ceftazidime-avibactam | 10-4 | 12 | 10-11 | 10 | 13 | 11-12 | 11 | 13 | 11-12 | 11 | 14 | 12-13 | 12
Ceftolozane-tazobactam | 30-10 | 16 | 14-15 | 14 | 16 | 14-15 | 14 | 17 | 15-16 | 15 | 20 | 17-19 | 17
Imipenem2 | 10 | 16 | 14-15 | 14 | 17 | 15-16 | 15 | 17 | 15-16 | 15 | 15 | 12-14 | 12
Imipenem-relebactam | 10-25 | 15 | 13-14 | 13 | 15 | 14 | 14 | 15 | 14 | 14 | 17 | 15-16 | 15
Meropenem2 | 10 | 15 | 13-14 | 13 | 17 | 15-16 | 15 | 17 | 15-16 | 15 | 15 | 13-14 | 13
Meropenem-vaborbactam | 20-10 | 16 | 14-15 | 14 | 17 | 16 | 16 | 17 | 16 | 16 | 15 | 13-14 | 13
Ciprofloxacin | 5 | 17 | 15-16 | 15 | 18 | 16-17 | 16 | 18 | 16-17 | 16 | 19 | 17-18 | 17
Levofloxacin | 5 | 17 | 14-16 | 14 | 18 | 15-17 | 15 | 18 | 15-17 | 15 | 18 | 15-17 | 15
Amikacin3 | 30 | (15) | (13-14) | (13) | (14) | (12-13) | (12) | (14) | (12-13) | (12) | (15) | (13-14) | (13)
Gentamicin3 | 10 | (14) | (12-13) | (12) | (14) | (12-13) | (12) | (13) | (11-12) | (11) | (14) | (13) | (13)
Tobramycin3 | 10 | (14) | (12-13) | (12) | (13) | (11-12) | (11) | (13) | (11-12) | (11) | (14) | (13) | (13)
Trimethoprim-sulfamethoxazole | 1.25-23.75 | 11 | 9-10 | 9 | 11 | 9-10 | 9 | 11 | 9-10 | 9 | 10 | 8-9 | 8
Notes
1. Cephalosporin breakpoints for K. pneumoniae will detect all clinically important resistance mechanisms. The presence or absence of an ESBL does not in itself influence the categorisation of susceptibility. However, ESBL detection and characterisation are recommended for public health and infection control purposes.
See document EUCAST RAST screening for resistance mechanisms (link to document) for screening cut-offs.
2. Carbapenem breakpoints for K. pneumoniae will detect all clinically important resistance mechanisms. The presence or absence of a carbapenemase does not in itself influence the categorisation of susceptibility. However, carbapenemase detection and characterisation are recommended for public health and infection control purposes.
See document EUCAST RAST screening for resistance mechanisms (link to document) for screening cut-offs.
3. Aminoglycoside breakpoints distinguish between isolates without and with resistance mechanisms. For blood stream infections, EUCAST recommends that aminoglycosides are used in combination with other active therapy.

## P. aeruginosa
Pseudomonas aeruginosa |  |  |  | EUCAST RAST Breakpoint Tables v. 6.1, valid from 2023-06-07
Zone diameter breakpoints for RAST directly from blood culture bottles
A zone diameter breakpoint of "S ≥ 50 mm" is an arbitrary off-scale zone diameter breakpoint to prevent isolates from being categorised as "S". Isolates with zone diameters greater than the ATU interval should be reported “Susceptible, increased exposure” (I).
EUCAST rapid disk diffusion method directly from positive blood culture bottles Medium: Mueller-Hinton (MH) agar Inoculum: 125±25 µL directly from a positive blood culture bottle Incubation: Air, 35±1ºC Incubation time: 4, 6, 8 and 16-20 hours Weak growth/generall reading instructions: For some isolates there is weak growth at RAST, the isolates usually have weak growth at standard disk diffusion 16-20 hours incubation as well. Inhibition zones should only be read when the growth is confluent and zone edges are clearly visible. Reading 4, 6 and 8 hours: Remove the lid and read zone diameters from the front against a dark background illuminated with reflected light. Reading 16-20 hours: Read zone diameters from the back of the plate against a dark background illuminated with reflected light.
QC for implementation of RAST
Antimicrobial agent | Disk content (µg) | 6 hours |  |  | 8 hours |  |  | 16-20 hours
|  | S ≥ | ATU | R < | S ≥ | ATU | R < | S ≥ | ATU | R <
Piperacillin-tazobactam | 30-6 | 50 | 13-15 | 13 | 50 | 14-16 | 14 | 501 | 15-161 | 151
Cefepime | 30 | 50 | 15-16 | 15 | 50 | 15-16 | 15 | 50 | 17 | 17
Ceftazidime | 10 | 50 | 12-14 | 12 | 50 | 13-15 | 13 | 50 | 14 | 14
Ceftazidime-avibactam | 10-4 | 15 | 13-14 | 13 | 16 | 14-15 | 14 | 18 | 15-17 | 15
Ceftolozane-tazobactam | 30-10 | 15 | 14 | 14 | 16 | 15 | 15 | ND | 18-50 | 18
Imipenem | 10 | 50 | 15-16 | 15 | 50 | 15-16 | 15 | 501 | 161 | 161
Imipenem-relebactam | 10-25 | 18 | 16-17 | 16 | 20 | 18-19 | 18 | 221 | 20-211 | 201
Meropenem | 10 | 16 | 14-15 | 14 | 16 | 14-15 | 14 | 161 | 151 | 151
Meropenem-vaborbactam | 20-10 | 14 | 13 | 13 | 14 | 13 | 13 | 141 | 11-131 | 111
Ciprofloxacin | 5 | 50 | 17-18 | 17 | 50 | 20-21 | 20 | 50 | 20-22 | 20
Levofloxacin | 5 | 50 | 14-15 | 14 | 50 | 15-16 | 15 | 50 | 15-16 | 15
Amikacin2 | 30 | (15) | (13-14) | (13) | (14) | (13) | (13) | (12) | (11) | (11)
Tobramycin2 | 10 | (14) | (13) | (13) | (15) | (14) | (14) | (14) | (13) | (13)
1. Ignore isolated colonies inside the inhibition zone when reading plates after 16-20 h.
2. Aminoglycoside breakpoints distinguish between isolates without and with resistance mechanisms. For blood stream infections, EUCAST recommends that aminoglycosides are used in combination with other active therapy.

## A. baumannii
Acinetobacter baumannii |  |  |  | EUCAST RAST Breakpoint Tables v. 6.1, valid from 2023-06-07
Zone diameter breakpoints for RAST directly from blood culture bottles
A zone diameter breakpoint of "S ≥ 50 mm" is an arbitrary off-scale zone diameter breakpoint to prevent isolates from being categorised as "S". Isolates with zone diameters greater than the ATU interval should be reported “Susceptible, increased exposure” (I).
EUCAST rapid disk diffusion method directly from positive blood culture bottles Medium: Mueller-Hinton (MH) agar Inoculum: 125±25 µL directly from a positive blood culture bottle Incubation: Air, 35±1ºC Incubation time: 4, 6, 8 and 16-20 hours Generall reading instructions: Inhibition zones should only be read when the growth is confluent and zone edges are clearly visible. Reading 4, 6 and 8 hours: Remove the lid and read zone diameters from the front against a dark background illuminated with reflected light. Reading 16-20 hours: Read zone diameters from the back of the plate against a dark background illuminated with reflected light.
QC for implementation of RAST
Antimicrobial agent | Disk content (µg) | 4 hours |  |  | 6 hours |  |  | 8 hours |  |  | 16-20 hours
|  | S ≥ | ATU | R < | S ≥ | ATU | R < | S ≥ | ATU | R < | S ≥ | ATU | R <
Imipenem | 10 | 18 | 16-17 | 16 | 19 | 17-18 | 17 | 19 | 17-18 | 17 | 21 | 19-20 | 19
Meropenem | 10 | 14 | 12-13 | 12 | 17 | 15-16 | 15 | 18 | 16-17 | 16 | 20 | 18-19 | 18
Ciprofloxacin | 5 | 50 | 14-15 | 14 | 50 | 15-16 | 15 | 50 | 16-17 | 16 | 20 | 18-19 | 18
Levofloxacin | 5 | 17 | 15-16 | 15 | 18 | 16-17 | 16 | 19 | 17-18 | 17 | 20 | 18-19 | 18
Amikacin1 | 30 | ND | (13-50) | (13) | (15) | (13-14) | (13) | (15) | (13-14) | (13) | (16) | (14-15) | (14)
Gentamicin1 | 10 | (14) | (12-13) | (12) | (14) | (12-13) | (12) | (15) | (13-14) | (13) | (16) | (14-15) | (14)
Tobramycin1 | 10 | (14) | (12-13) | (12) | (14) | (12-13) | (12) | (14) | (12-13) | (12) | (15) | (14) | (14)
Trimethoprim-sulfamethoxazole2 | 1.25-23.75 | 132 | 6-122 | ND | 132 | 10-122 | 102 | 132 | 10-122 | 102 | 9 | 7-8 | 7
Notes
1. Aminoglycoside breakpoints distinguish between isolates without and with resistance mechanisms. For blood stream infections, EUCAST recommends that aminoglycosides are used in combination with other active therapy.
2. Read the outer zone edge and ignore growth within the zone.

## S. aureus
Staphylococcus aureus | [6 empty] | EUCAST RAST Breakpoint Tables v. 6.1, valid from 2023-06-07
Zone diameter breakpoints for RAST directly from blood culture bottles
EUCAST rapid disk diffusion method directly from positive blood culture bottles Medium: Mueller-Hinton (MH) agar Inoculum: 125±25 µL directly from a positive blood culture bottle Incubation: Air, 35±1ºC Incubation time: 4, 6, 8 and 16-20 hours Generall reading instructions: Inhibition zones should only be read when the growth is confluent and zone edges are clearly visible. Reading 4, 6 and 8 hours: Remove the lid and read zone diameters from the front against a dark background illuminated with reflected light. Reading 16-20 hours: Read zone diameters from the back of the plate against a dark background illuminated with reflected light.
QC for implementation of RAST
Antimicrobial agent | Disk content (µg) | 4 hours |  |  | 6 hours |  |  | 8 hours |  |  | 16-20 hours
|  | S ≥ | ATU | R < | S ≥ | ATU | R < | S ≥ | ATU | R < | S ≥ | ATU | R <
Cefoxitin (screen only)1 | 30 | 16 | 15 | 15 | 18 | 17 | 17 | 19 | 18 | 18 | 22 | 21 | 21
Norfloxacin (screen only)2 | 10 | 13 | 11-12 | 11 | 14 | 13 | 13 | 15 | 14 | 14 | 16 | 15 | 15
Amikacin3 | 30 | (12) | (11) | (11) | (13) | (12) | (12) | (14) | (13) | (13) | (14) | (12-13) | (12)
Gentamicin3 | 10 | (14) | (12-13) | (12) | (15) | (13-14) | (13) | (15) | (13-14) | (13) | (16) | (14-15) | (14)
Tobramycin3 | 10 | (15) | (13-14) | (13) | (16) | (14-15) | (14) | (16) | (14-15) | (14) | (16) | (14-15) | (14)
Clindamycin4 | 2 | 16 | 14-15 | 14 | 19 | 16-18 | 16 | 19 | 16-18 | 16 | 19 | 16-18 | 16
Notes
1. For screen negative isolates, report all beta-lactam agents with breakpoints (including those with “Note”) in the EUCAST Clinical Breakpoint Tables (standard methodology) as susceptible. If cefotaxime and ceftriaxone are reported for methicillin-susceptible S. aureus, these should be reported “Susceptible, increased exposure” (I). Screen positive isolates are likely to be methicillin resistant and thus resistant to all beta-lactam agents except possibly ceftaroline and ceftobiprole.
2. Isolates categorised as screen negative can be reported susceptible to moxifloxacin and "susceptible increased exposure" (I) to ciprofloxacin and levofloxacin. Isolates categorised as screen positive should be tested for susceptibility to individual agents or reported as resistant.
3. Aminoglycoside breakpoints distinguish between isolates without and with resistance mechanisms. For blood stream infections, EUCAST recommends that aminoglycosides are used in combination with other active therapy.
4. Test for inducible clindamycin resistance: Place a clindamycin 2 µg disk and an erythromycin 15 µg disk 6-12 mm apart (edge to edge). Look for a D phenomenon after 6, 8 and 16-20 hours. A positive test is reliable but a negative test does not guarantee the absence of inducible resistance. Note: An additional clindamycin disk should be tested separately to avoid interference of the erythromycin disk when measuring the clindamycin zone diameter.

## E. faecalis
Enterococcus faecalis |  |  |  | EUCAST RAST Breakpoint Tables v. 6.1, valid from 2023-06-07
Zone diameter breakpoints for RAST directly from blood culture bottles
A zone diameter breakpoint of "S ≥ 50 mm" is an arbitrary off-scale zone diameter breakpoint to prevent isolates from being categorised as "S". Isolates with zone diameters greater than the ATU interval should be reported “Susceptible, increased exposure” (I).
EUCAST rapid disk diffusion method directly from positive blood culture bottles Medium: Mueller-Hinton (MH) agar Inoculum: 125±25 µL directly from a positive blood culture bottle Incubation: Air, 35±1ºC Incubation time: 4, 6, 8 and 16-20 hours Generall reading instructions: Inhibition zones should only be read when the growth is confluent and zone edges are clearly visible. Reading 4, 6 and 8 hours: Remove the lid and read zone diameters from the front against a dark background illuminated with reflected light. Reading 16-20 hours: Read zone diameters from the back of the plate against a dark background illuminated with reflected light.
QC for implementation of RAST
Antimicrobial agent | Disk content (µg) | 4 hours |  |  | 6 hours |  |  | 8 hours |  |  | 16-20 hours
|  | S ≥ | ATU | R < | S ≥ | ATU | R < | S ≥ | ATU | R < | S ≥ | ATU | R <
Ampicillin1, 2 | 2 | 9 | 6-8 | ND | 9 | 6-8 | ND | 9 | 6-8 | ND | 9 | 6-8 | ND
Imipenem2 | 10 | 50 | 6-13 | ND | 50 | 6-14 | ND | 50 | 6-15 | ND | 50 | 6-13 | ND
Vancomycin3 | 5 | ND | 10-50 | 10 | ND | 10-50 | 10 | ND | 10-50 | 10 | ND | 11-50 | 11
Linezolid | 10 | 17 | 14-16 | 14 | 17 | 14-16 | 14 | 17 | 14-16 | 14 | 15 | 12-14 | 12
Antimicrobial agent | Disk content (µg) | 4 hours |  |  | 6 hours |  |  | 8 hours |  |  | 16-20 hours
|  | Negative test ≥ | ATU | Positive test < | Negative test ≥ | ATU | Positive test < | Negative test ≥ | ATU | Positive test < | Negative test ≥ | ATU | Positive test <
Gentamicin (test for high-level aminoglycoside resistance)4 | 30 | 16 | 14-15 | 14 | 16 | 14-15 | 14 | 16 | 14-15 | 14 | 16 | 14-15 | 14
Notes
1. Susceptibility to ampicillin, amoxicillin and piperacillin (with and without beta-lactamase inhibitor) can be inferred from ampicillin.
2. For E. faecalis results in the ATU, confirm with a standard test.
3. With the RAST method, vancomycin susceptibility can not be determined by examining if the zone edge is sharp or fuzzy. Only vancomycin resistance can be predicted by the RAST breakpoints; when vancomycin resistance is not detected, susceptibility cannot be inferred.
4. Gentamicin can be used to screen for high-level aminoglycoside resistance (HLAR). Negative test: the isolate is wild type for gentamicin and expected low-level resistant phenotype. There may be synergy with penicillins and glycopeptides. Positive test: the isolate is high-level resistant to gentamicin and other aminoglycosides, possibly except streptomycin (which must be tested separately if relevant; see the standard EUCAST breakpoint table). There will be no synergy with penicillins or glycopeptides.

## E. faecium
Enterococcus faecium |  |  |  | EUCAST RAST Breakpoint Tables v. 6.1, valid from 2023-06-07
Zone diameter breakpoints for RAST directly from blood culture bottles
A zone diameter breakpoint of "S ≥ 50 mm" is an arbitrary off-scale zone diameter breakpoint to prevent isolates from being categorised as "S". Isolates with zone diameters greater than the ATU interval should be reported “Susceptible, increased exposure” (I).
EUCAST rapid disk diffusion method directly from positive blood culture bottles Medium: Mueller-Hinton (MH) agar Inoculum: 125±25 µL directly from a positive blood culture bottle Incubation: Air, 35±1ºC Incubation time: 4, 6, 8 and 16-20 hours Generall reading instructions: Inhibition zones should only be read when the growth is confluent and zone edges are clearly visible. Reading 4, 6 and 8 hours: Remove the lid and read zone diameters from the front against a dark background illuminated with reflected light. Reading 16-20 hours: Read zone diameters from the back of the plate against a dark background illuminated with reflected light.
QC for implementation of RAST
Antimicrobial agent | Disk content (µg) | 4 hours |  |  | 6 hours |  |  | 8 hours |  |  | 16-20 hours
|  | S ≥ | ATU | R < | S ≥ | ATU | R < | S ≥ | ATU | R < | S ≥ | ATU | R <
Ampicillin1 | 2 | 10 | 8-9 | 8 | 10 | 8-9 | 8 | 10 | 8-9 | 8 | 10 | 8-9 | 8
Imipenem | 10 | 18 | 13-17 | 13 | 17 | 14-16 | 14 | 19 | 16-18 | 16 | 17 | 15-16 | 15
Vancomycin2 | 5 | ND | 12-50 | 12 | ND | 13-50 | 13 | ND | 13-50 | 13 | ND | 13-50 | 13
Linezolid | 10 | ND | ND | ND | 19 | 17-18 | 17 | 19 | 17-18 | 17 | 16 | 14-15 | 14
Antimicrobial agent | Disk content (µg) | 4 hours |  |  | 6 hours |  |  | 8 hours |  |  | 16-20 hours
|  | Negative test ≥ | ATU | Positive test < | Negative test ≥ | ATU | Positive test < | Negative test ≥ | ATU | Positive test < | Negative test ≥ | ATU | Positive test <
Gentamicin (test for high-level aminoglycoside resistance)3 | 30 | 13 | 11-12 | 11 | 13 | 11-12 | 11 | 14 | 12-13 | 12 | 17 | 15-16 | 15
Notes
1. Susceptibility to ampicillin, amoxicillin and piperacillin (with and without beta-lactamase inhibitor) can be inferred from ampicillin. Ampicillin resistance is uncommon in E. faecalis (confirm with MIC) but common in E. faecium.
2. With the RAST method, vancomycin susceptibility can not be determined by examining if the zone edge is sharp or fuzzy. Only vancomycin resistance can be predicted by the RAST breakpoints; when vancomycin resistance is not detected, susceptibility cannot be inferred.
3. Gentamicin can be used to screen for high-level aminoglycoside resistance (HLAR). Negative test: the isolate is wild type for gentamicin and expected low-level resistant phenotype. There may be synergy with penicillins and glycopeptides. Positive test: the isolate is high-level resistant to gentamicin and other aminoglycosides, possibly except streptomycin (which must be tested separately if relevant; see the standard EUCAST breakpoint table). There will be no synergy with penicillins or glycopeptides.

## S. pneumoniae
Streptococcus pneumoniae | [6 empty] | EUCAST RAST Breakpoint Tables v. 6.1, valid from 2023-06-07
Zone diameter breakpoints for RAST directly from blood culture bottles
EUCAST rapid disk diffusion method directly from positive blood culture bottles Medium: Mueller-Hinton agar + 5% defibrinated horse blood and 20 mg/L β-NAD (MH-F) Inoculum: 125±25 µL directly from a positive blood culture bottle Incubation: 5% CO2, 35±1ºC Incubation time: 4, 6, 8 and 16-20 hours Generall reading instructions: Inhibition zones should only be read when the growth is confluent and zone edges are clearly visible. Reading 4, 6, 8 and 16-20 hours: Remove lid and read zone edges from the front illuminated with reflected light.
QC for implementation of RAST
Antimicrobial agent | Disk content (µg) | 4 hours |  |  | 6 hours |  |  | 8 hours |  |  | 16-20 hours
|  | S ≥ | ATU | R < | S ≥ | ATU | R < | S ≥ | ATU | R < | S ≥ | ATU | R <
Oxacillin (screen only)1,2 | 1 | 16 | 14-15 | 14 | 19 | 17-18 | 17 | 20 | 18-19 | 18 | 19 | 18 | 18
Norfloxacin (screen only)3 | 10 | 11 | 9-10 | 9 | 12 | 10-11 | 10 | 12 | 10-11 | 10 | 13 | 11-12 | 11
Erythromycin | 15 | 19 | 17-18 | 17 | 19 | 17-18 | 17 | 19 | 17-18 | 17 | 24 | 22-23 | 22
Clindamycin4 | 2 | 17 | 15-16 | 15 | 17 | 15-16 | 15 | 17 | 15-16 | 15 | 12 | 11 | 11
Trimethoprim-sulfamethoxazole | 1.25-23.75 | 12 | 10-11 | 10 | 12 | 10-11 | 10 | 12 | 10-11 | 10 | 11 | 9-10 | 9
Notes
1. For screen negative isolates, report all beta-lactam agents with breakpoints (including those with “Note”) in the EUCAST Clinical Breakpoint Tables (standard methodology) as susceptible.
2. For screen positive isolates, use the flow chart in the standard breakpoint tables to interpret benzylpenicillin. For ampicillin, amoxicillin and piperacillin (with and without β-lactamase inhibitor), cefotaxime, ceftriaxone, ceftaroline, ceftobiprole, cefepime, imipenem and meropenem, report susceptible if the oxacillin zone diameter is ≥9 mm (irrespective of incubation time 4, 6, 8 and 16-20 hours). This guidance is also valid for meningitis breakpoints. For other agents and when the oxacillin zone is <9 mm, perform an MIC for the agent considered for clinical use.
3. The norfloxacin disk diffusion test can be used to screen for fluoroquinolone resistance. Isolates categorised as screen negative can be reported susceptible to moxifloxacin and as "susceptible increased exposure" (I) to levofloxacin. Isolates categorised as screen positive should be tested for susceptibility to individual agents or reported resistant.
4. Test for inducible clindamycin resistance: Place a clindamycin 2 µg disk and an erythromycin 15 µg disk 6-12 mm apart (edge to edge). Look for a D phenomenon after 6, 8 and 16-20 hours. A positive test can be trusted but a negative test does not guarantee the absence of inducible resistance. Note: An additional clindamycin disk should be tested separately to avoid interference of the erythromycin disk when measuring the clindamycin zone diameter.